## Notes
ISO New England Public
Net Energy and Peak Load by Source.xlsx File
The information in this file comprises summaries of New England system-level peak load and monthly net energy for load data. Net Energy is defined as the amount of energy that needed to be introduced to the system to meet the requirements of load, losses, net interchange, but excluding pumped storage units. Generation data is reported by fuel type, reflecting methods as outlined in the 'Notes on Fuel Type' tab in this file. Net interchange data is reported at the interface level, with imports signed positively, while exports are signed negatively, both to conform with wholesale settlement conventions.
Section Heading | Description
Peak Hour Data | Tabulations of supply (generation plus grossed up demand response), pumping load, and net interchange at the hour of the monthly system peak load. This value also excludes demand from energy storage devices. Pumping load is almost exclusively '0' at the time of the peak. Positively-signed net interchange is a net import of electricity into New England, while negatively-signed net interchange is a net export of electricity out of New England.
FCM Peak Load Data | FCM system load is the sum of active load assets that are non-dispatchable and that are included in the FCM settlement. This information is used to establish a load asset's contribution to the peak system load for purposes of the Forward Capacity Market (FCM). For more information on the FCM annual system peak day, hour, and load, see the ISO website here: https://www.iso-ne.com/isoexpress/web/reports/load-and-demand/-/tree/ann-sys-peak-day-hr-load.
Telemetered System Peak Load Data | The telemetered system load value represents the approximate ‘real-time’ demand for electricity in the New England Balancing Authority Area. The value is sampled in each five-minute interval of the operating day. For more information on Five-Minute System Demand, see the ISO website here: https://www.iso-ne.com/isoexpress/web/reports/load-and-demand/-/tree/dmnd-five-minute-sys.
Monthly Energy Data | Tabulations of supply (generation plus the grossed up Price Responsive Demand (PRD) value), pumping load, and net interchange for the month, resulting in Net Energy for Load. This value also excludes demand from energy storage devices. Positively-signed net interchange is a net import of electricity into New England, while negatively-signed net interchange is a net export of electricity out of New England.
Supply Data | Tabulations of supply by fuel type for the month. The PRD value (which is included in this category) includes the gross up. See accompanying tab entitled 'Notes on Fuel Type' for further detail concerning methodology.
Tie Flow Data | Tabulations of net tie line, import, and export flows by external interface for the month. Imports are signed positively, while exports are signed negatively, conforming with wholesale market settlement conventions.
Helpful Links
Hourly, Daily, Monthly Peak Data | http://www.iso-ne.com/isoexpress/web/reports/load-and-demand/-/tree/zone-info
Hourly Net Flows Over External Tie Lines | http://www.iso-ne.com/isoexpress/web/reports/grid/-/tree/external-interface-metered-data
Daily Generation Detail | http://www.iso-ne.com/isoexpress/web/reports/operations/-/tree/daily-gen-fuel-type
Hourly settlement values are subject to re-settlement by the ISO. Revised data may be posted at any time.
ISO New England Public
Market Performance & Reporting
DRP Settlement None; Initial Settlement Jan 2026-Feb 2026; Not Settled Mar 2026-Dec 2026; RBA Settlement None
Current output format commenced 9/20/2019

## Fuel Types
Explanation of Generation by Fuel Type (Description Updated January 23, 2025)
ISO New England has reported daily metered generation by type of fuel registered on a weekly basis in the "Weekly Market Performance Report" for many years. The ISO has aggregated detailed fuel types to avoid disclosing information that could affect market competitiveness. Many units are capable of generating with multiple fuel types. The generation represented in this report is based on the submitted fuel blend from the generators' supply offer. If a generator does not submit a fuel blend (not all units take advantage of the offer blending option), the generation is assigned to generator's registered PRIMARY fuel.
Energy Market Offer Flexibility: On December 3, 2014, ISO New England implemented the Energy Market Offer Flexibility (EMOF) Project. One of the features of the new market construct associated with EMOF allows market generators to submit supply offers that disclose fuel "blending." If a unit co-fires two (or more) fuels, they are now able to specify the percentage of each fuel’s expected use over the unit's output in their supply offer. Note: This functionality was implemented to provide the unit the flexibility to represent their cost (and expected use) of two or more fuels. While the supply offer blending is intended to be indicative of fuel consumption, it is not a precise measure of fuels burned. This blend percentage, when applied to a unit's output over its operating range, provides somewhat better insights into the amounts of electricity generated by each type of fuel.
Reporting is consistent with ISO’s mobile application and ISOExpress here:
http://www.iso-ne.com/isoexpress/
The data represent, in megawatt-hours (MWh), the amount of electricity assigned to each fuel type during the week. The data provided are for the full system, including “settlement only” generators that do not actively offer their output into the wholesale markets.
Fuel Category | Detail Fuel Type
Coal | Anthracite Coal and Bituminous Coal
Coal Synfuel.
Lignite Coal
Subbituminous Coal
Waste/Other Coal.
Hydro | Pumped Storage
Water
Landfill Gas | Landfill Gas
Methane | Other Biomass Gas. Includes digester gas, methane, and other biomass gasses.
Natural Gas | Blast Furnace Gas
Gaseous Propane
Natural Gas
Nuclear | Nuclear Uranium, Plutonium, Thorium
Oil | Distillate Fuel Oil. Including Diesel, Nos. 1,2,3 and ULSD
Jet Fuel
Kerosene
Petroleum Coke
Residual Fuel Oil. Including Diesel, No. 6, Bunker C
Waste/Other Oil.
Other | Electricity used for Energy Storage
Energy Storage (Battery)
Energy Storage (Fuel Cell)
Energy Storage (Other)
Geothermal
Hybrid Solar/Battery
Hybrid Wind/Battery
Other
PRD | DRR Dispatch MW
Refuse | Agricultural Crop Byproducts/Straw/Energy Crops
Municipal Solid Waste
Other Biomass Liquids.
Other Biomass Solids
Sludge Waste
Tire-derived Fuels
Solar | Solar
Steam | Purchased Steam
Wind | Wind
Wind (Offshore)
Wind (Onshore)
Wood | Black Liquor
Wood Waste Liquids excluding Black Liquor.
Wood/Wood Waste Solids.

## 2026
ISO New England Public
Monthly Peak Load and Energy Data
2026 - Peak Hour Data (MW)* | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | Max YTD
Supply at Peak Hour | JAN: 19113; FEB: 17830 | 19113
Pumping/Charging Load at Peak Hour | JAN: 156; FEB: 25 | 156
Net Interchange at Peak Hour | JAN: 1264; FEB: 2373 | 2373
Imports at Peak Hour | JAN: 2048; FEB: 2704 | 2704
Exports at Peak Hour | JAN: -784; FEB: -331 | -784 | Min YTD
System Peak Day | JAN: 25; FEB: 8
System Peak Hour | JAN: 14; FEB: 18
System Peak Load (MW) ** | JAN: 20221; FEB: 20178 | 20221
System Minimum Load (MW) | JAN: 10875; FEB: 11907 | 10875 | Min YTD
2026 - FCM Peak Load | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | Max YTD
FCM Peak Day | 10875 JAN: 25; 11907 FEB: 8
FCM Peak Hour | 10875 JAN: 13; 11907 FEB: 18
FCM Peak Load (MW)** | 10875 JAN: 19937.19; 11907 FEB: 19771.776 | 19937.19
2026 - Telemetered System Peak Load | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | Max YTD
Telemetered Peak Day | 19937.19 JAN: 25; 19771.776 FEB: 8
Telemetered Peak Hour | 19937.19 JAN: 14; 19771.776 FEB: 18
Telemetered System Peak Load (MW)** | 19937.19 JAN: 20182; 19771.776 FEB: 20172 | 20182
2026 - Monthly Energy Data (GWh) | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | SUM YTD
Supply | 20182 JAN: 10352; 20172 FEB: 8654 | 19006
Pumping/Charging Load | 20182 JAN: 172; 20172 FEB: 175 | 347
Net Interchange (+ = Import) | 20182 JAN: 1445; 20172 FEB: 1889 | 3334
Imports | 20182 JAN: 1764; 20172 FEB: 1987 | 3752
Exports | 20182 JAN: -319; 20172 FEB: -98 | -418
Net Energy for Load (GWh) *** | 20182 JAN: 11625; 20172 FEB: 10368 | 21993
*** Net Energy for Load and System Peak are defined here as supply plus net interchange less pumping/charging load.
2026 - Supply (GWh) | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | SUM YTD
COAL | JAN: 5; FEB: 2 | 7
NATURAL GAS | JAN: 4978; FEB: 4224 | 9202
HYDRO | JAN: 617; FEB: 408 | 1024
NUCLEAR | JAN: 2501; FEB: 2257 | 4758
OIL | JAN: 1028; FEB: 629 | 1657
LANDFILL GAS | JAN: 30; FEB: 26 | 56
METHANE | JAN: 2; FEB: 2 | 3
REFUSE | JAN: 216; FEB: 183 | 400
SOLAR | JAN: 147; FEB: 216 | 363
STEAM | JAN: 0; FEB: 0 | 0
WIND | JAN: 558; FEB: 448 | 1006
WOOD | JAN: 224; FEB: 204 | 428
OTHER | JAN: 45; FEB: 55 | 100
PRD | JAN: 1; FEB: 0 | 1
Total Supply (GWh) | JAN: 10352; FEB: 8654 | 19006
2026 - Net Tie Flows (GWh)* | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | SUM YTD
New Brunswick | 10352 JAN: 116; 8654 FEB: 51 | 167
New York-Northern AC Ties | 10352 JAN: 953; 8654 FEB: 770 | 1723
Hydro-Quebec Phase II | 10352 JAN: 7; 8654 FEB: 290 | 297
Hydro-Quebec Highgate | 10352 JAN: 58; 8654 FEB: 71 | 129
New York-Cross Sound Cable | 10352 JAN: -68; 8654 FEB: -87 | -155
New York-Norwalk/Northport | 10352 JAN: 67; 8654 FEB: 51 | 118
New England Clean Energy Connect | 10352 JAN: 312; 8654 FEB: 743 | 1055
Total Net Tie Lines (GWh) | 10352 JAN: 1445; 8654 FEB: 1889 | 3334
2026 - Imports (GWh)* | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | SUM YTD
New Brunswick | 1445 JAN: 119; 1889 FEB: 60 | 179
New York-Northern AC Ties | 1445 JAN: 959; 1889 FEB: 770 | 1730
Hydro-Quebec Phase II | 1445 JAN: 225; 1889 FEB: 290 | 515
Hydro-Quebec Highgate | 1445 JAN: 60; 1889 FEB: 71 | 131
New York-Cross Sound Cable | 1445 JAN: 0; 1889 FEB: 1 | 1
New York-Norwalk/Northport | 1445 JAN: 71; 1889 FEB: 53 | 124
New England Clean Energy Connect | 1445 JAN: 330; 1889 FEB: 743 | 1073
Total Imports (GWh) | 1445 JAN: 1764; 1889 FEB: 1987 | 3752
2026 - Exports (GWh)* | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | SUM YTD
New Brunswick | 1764 JAN: -2; 1987 FEB: -10 | -12
New York-Northern AC Ties | 1764 JAN: -7; 1987 FEB: 0 | -7
Hydro-Quebec Phase II | 1764 JAN: -218; 1987 FEB: 0 | -218
Hydro-Quebec Highgate | 1764 JAN: -2; 1987 FEB: 0 | -2
New York-Cross Sound Cable | 1764 JAN: -68; 1987 FEB: -88 | -156
New York-Norwalk/Northport | [12 empty] | -5 | bar: 1764 JAN to 1987 FEB
New England Clean Energy Connect | 1764 JAN: -18; 1987 FEB: 0 | -18
Total Exports (GWh) | 1764 JAN: -319; 1987 FEB: -98 | -418
* Positive denotes imports; negative denotes exports
**Due to the difference in calculation methodologies, these values can occur on different days and hours.
All values subject to re-settlement and re-posting.
ISO New England Public
Market Performance & Reporting